## Risk Assessment
FM Risk Assessment - guidetofm.com
Site / building: |  |  | Assessment ref:
Assessed by: |  |  | Date:
Reviewed by: |  |  | Review date:
# | Hazard / risk | Who may be affected | Existing controls | L | S | Risk rating | Further action needed | Action owner | Target date | Status
BUILDING AND SITE ACCESS
1 | Damaged floor covering in shared corridor | Staff, visitors, contractors | Area identified and monitored | 2 | 2 | Medium | Arrange repair and temporary warning signage | Facilities manager |  | Open
2 | Uneven or damaged external pathways | Staff, visitors | Known areas marked for attention | 2 | 2 | Medium | Survey condition and schedule repair works | Site team |  | Open
3 | Poor lighting in external access routes | Staff, visitors | Basic lighting in place | 2 | 2 | Medium | Inspect failed fittings and schedule replacement | Site team |  | Open
4 | Obstructed fire exits or escape routes | All building occupants | Regular checks included in site walk-round | 1 | 3 | Medium | Clear obstructions immediately and reinforce policy | Facilities manager |  | Open
FIRE SAFETY
1 | Fire doors propped open or damaged | All building occupants | Fire door inspection included in routine checks | 2 | 3 | High | Repair or replace damaged doors; reinforce no-propping policy | Facilities manager |  | Open
2 | Combustible materials stored near heat sources or in escape routes | All building occupants | General housekeeping monitored | 1 | 3 | Medium | Review storage arrangements and remove materials from risk areas | Site team |  | Open
3 | Blocked access to fire extinguishers or call points | All building occupants | Monthly visual checks in place | 1 | 3 | Medium | Clear access and include in routine inspection checklist | Facilities staff |  | Open
4 | Inadequate fire exit signage or emergency lighting | All building occupants | Emergency lighting tested monthly | 1 | 3 | Medium | Replace missing signage; check all units during next test | Facilities manager |  | Open
ELECTRICAL SAFETY
1 | Damaged electrical sockets, switches, or wiring | Staff, cleaners, contractors | Defects reported through helpdesk | 1 | 3 | Medium | Isolate and arrange repair by competent electrician | Facilities manager |  | Open
2 | Overloaded power circuits or extension leads | Staff | General guidance issued to staff | 2 | 2 | Medium | Audit high-risk areas and remove overloaded arrangements | Facilities staff |  | Open
3 | Portable appliances without current PAT testing | Staff, visitors | PAT testing programme in place | 1 | 2 | Low | Confirm testing schedule is current and chase any gaps | Facilities manager |  | Open
WATER AND ENVIRONMENTAL
1 | Legionella risk from infrequently used water outlets | Staff, visitors | Flushing regime in place for low-use outlets | 2 | 3 | High | Review flushing records and confirm regime is being followed | Facilities manager |  | Open
2 | Leaking pipework or fixtures causing damp or slip risk | Staff, cleaners, visitors | Defects reported and logged | 2 | 2 | Medium | Arrange plumbing repair and monitor for recurrence | Site team |  | Open
3 | Inadequate ventilation in occupied or enclosed spaces | Staff, visitors | Mechanical ventilation in place where required | 1 | 2 | Low | Review ventilation adequacy and service schedule | Facilities manager |  | Open
SLIPS, TRIPS AND FALLS
1 | Wet floors without adequate warning signage | Staff, visitors, cleaners | Cleaning contractor uses wet floor signs | 2 | 2 | Medium | Check signage availability and reinforce with contractor | Facilities manager |  | Open
2 | Trailing cables across walkways | Staff, visitors | General awareness among staff | 2 | 2 | Medium | Install cable management or reroute cables | Facilities staff |  | Open
3 | Uneven flooring, damaged carpet tiles, or raised thresholds | Staff, visitors, contractors | Known defects reported to site team | 2 | 2 | Medium | Schedule repair and apply temporary measures where needed | Site team |  | Open
CONTRACTOR AND WORK ACTIVITIES
1 | Unclear contractor access or supervision arrangements | Contractors, staff | Site sign-in process exists | 2 | 2 | Medium | Clarify access instructions and supervision expectations | Facilities manager |  | Open
2 | Inadequate permit-to-work controls for high-risk tasks | Contractors, site team | Permit-to-work system in place | 1 | 3 | Medium | Review permit process and confirm compliance for upcoming works | Facilities manager |  | Open
3 | Manual handling risks from deliveries, moves, or waste handling | Site team, delivery staff | Manual handling guidance provided | 2 | 2 | Medium | Review arrangements and provide training where needed | Site supervisor |  | Open
PLANT AND EQUIPMENT
1 | Blocked or restricted access to plant rooms | Site team, contractors | Issue reported to site team | 2 | 2 | Medium | Clear access route and re-check housekeeping controls | Site supervisor |  | Open
2 | Equipment with expired or missing statutory certificates | Staff, contractors | Certification tracking in place | 1 | 3 | Medium | Audit current certificates and arrange overdue inspections | Facilities manager |  | Open
3 | Inadequate guarding or safety controls on plant equipment | Site team, contractors | Equipment maintained under service contract | 1 | 3 | Medium | Inspect guarding and raise with service contractor | Facilities manager |  | Open
Risk rating: L (Likelihood) × S (Severity) ¦ 1 = Low, 2 = Medium, 3 = High ¦ Score 1–2 = Low risk, 3–4 = Medium risk, 6–9 = High risk
Adapt this template to suit your site, activities, and risk profile. Remove sections that do not apply and add risks specific to your operation.

## Risk Matrix
Risk Matrix
Likelihood ↓ / Severity → | 1 - Low | 2 - Medium | 3 - High
3 - High | 3 - Medium | 6 - High | 9 - High
2 - Medium | 2 - Low | 4 - Medium | 6 - High
1 - Low | 1 - Low | 2 - Low | 3 - Medium
Risk score key
Low (1–2) | Acceptable risk — monitor and review as part of routine process
Medium (3–4) | Action needed — put controls in place and review regularly
High (6–9) | Urgent action — address promptly, escalate if necessary

## Guidance Notes
FM Risk Assessment — Guidance Notes
Purpose
This template provides a practical structure for identifying, documenting, and reviewing facilities-related risks. It is designed to help facilities teams record what the risk is, who may be affected, what controls are in place, and what further action may be needed.
How to use
Complete the site information at the top. Work through each section, describing hazards, who is affected, and what controls are already in place. Score the likelihood and severity to generate a risk rating, then record any further actions needed along with the owner, target date, and status.
Risk rating
The risk rating is calculated automatically from the likelihood and severity scores. Likelihood and severity are each scored 1 to 3 (1 = Low, 2 = Medium, 3 = High). The risk rating is the product of the two: scores of 1–2 = Low risk, 3–4 = Medium risk, 6–9 = High risk. See the Risk Matrix sheet for a visual reference.
Adapting the template
This template includes common example risks across several categories relevant to facilities management. You should remove sections that do not apply to your site and add risks specific to your buildings, services, activities, and operational context. The aim is a practical document, not the longest one possible.
Status options
Open = action is required but not yet started. In progress = action is being addressed. Closed = action has been completed and risk is controlled. Monitoring = risk is being tracked as part of ongoing review.
Review
Risk assessments should be reviewed and updated periodically, and also after any significant change, incident, or near miss. As your site, activities, or services change, the assessment should be refined to remain relevant.
Risk assessment vs maintenance checklist
A risk assessment template is usually focused on identifying risks, recording controls, assigning actions, and reviewing exposure. A maintenance checklist is usually focused on recurring checks, inspections, and routine operational tasks. Both are useful but serve different purposes.
Compliance context
In the UK, the Management of Health and Safety at Work Regulations 1999 require employers to carry out suitable and sufficient risk assessments. This template can support that process for facilities-related risks, but it does not replace specialist assessments where required (e.g. fire risk assessment, Legionella risk assessment, COSHH assessment). Seek competent advice where needed.
Further reading
Visit guidetofm.com for related guides on health and safety in facilities management, FM compliance, maintenance checklists, and PPM schedule templates.