## Maintenance Checklist
Maintenance Checklist - guidetofm.com
Site / building: |  |  | Checklist ref:
Completed by: |  |  | Date:
Reviewed by: |  |  | Review date:
# | Area / item | Check or task | Frequency | Responsible person | Status | Date checked | Notes / follow-up
GENERAL AREAS
1 | Main entrance | Inspect doors, locks, access control, and visible condition | Weekly | Site team | Completed
2 | Reception / lobby | Check general cleanliness, signage, and lighting | Weekly | Site team | Completed
3 | Corridors and stairwells | Check lighting, flooring condition, and clear escape routes | Weekly | Facilities staff
4 | Lifts | Confirm operational, check for visible defects, and verify inspection certificate is current | Monthly | Facilities manager
5 | Washrooms | Check general condition, fixtures, supplies, and minor defects | Weekly | Site team
EXTERNAL AREAS
1 | Car park | Check surface condition, markings, lighting, and drainage | Monthly | Site team
2 | Building exterior | Visual check of cladding, gutters, signage, and access points | Monthly | Facilities manager
3 | Grounds and landscaping | Check general condition, paths, fencing, and litter | Weekly | Site team
4 | Bin storage area | Check cleanliness, access, and waste collection schedule | Weekly | Site team
BUILDING SERVICES
1 | Lighting (shared areas) | Check for failed lamps, flickering, or damaged fittings | Weekly | Facilities staff
2 | Heating / cooling | Check temperature comfort, visible leaks, and thermostat operation | Weekly | Facilities staff
3 | Plant room | Visual condition check, housekeeping, and access security | Monthly | Facilities manager
4 | Water systems | Check taps, visible pipework, and TMV operation where applicable | Monthly | Facilities manager
FIRE AND LIFE SAFETY
1 | Fire exits and routes | Confirm exits clear, signage visible, and doors operational | Weekly | Site team
2 | Fire extinguishers | Visual check — present, accessible, no visible damage, within service date | Monthly | Facilities staff
3 | Emergency lighting | Visual check that units are present, undamaged, and indicator lights showing | Monthly | Facilities staff
4 | Fire alarm call points | Visual check — accessible, undamaged, clearly signed | Monthly | Facilities manager
FURNITURE AND EQUIPMENT
1 | Office furniture | Check desks, chairs, and storage for damage or wear | Monthly | Facilities staff
2 | Kitchen / breakout area | Check appliances, cleanliness, and general condition | Weekly | Site team
3 | Meeting rooms | Check AV equipment, furniture, lighting, and general condition | Monthly | Facilities staff
CONTRACTOR AND COMPLIANCE CHECKS
1 | Cleaning standards | Spot-check cleaning quality against agreed specification | Weekly | Facilities manager
2 | Contractor sign-in records | Confirm contractor sign-in/out process is being followed | Weekly | Facilities staff
3 | Permit-to-work records | Check permits are issued and closed correctly where applicable | Monthly | Facilities manager
Status key: Completed = task done, no issues ¦ Satisfactory = checked, acceptable condition ¦ Action needed = defect or follow-up required ¦ Not checked = item was not inspected ¦ N/A = not applicable this period
Adapt this checklist to suit your site, building type, and service model. Remove sections that do not apply and add items specific to your operation.

## Guidance Notes
Maintenance Checklist — Guidance Notes
Purpose
This template provides a practical structure for tracking recurring inspections, routine tasks, and simple maintenance activities. It is designed to help facilities teams carry out checks consistently, record findings, and follow up on issues.
How to use
Complete the site information at the top of the checklist each time it is used. Work through each item, recording the status and any notes. Where issues are found, record them clearly and follow your site's process for raising a work order or escalating.
Adapting the template
This checklist includes common example items across several categories. You should remove sections that do not apply to your site and add items that are specific to your building, services, or operation. The best checklist is one that matches your real site and tasks — not the longest one.
Frequency
Each item has a suggested frequency (daily, weekly, monthly, etc.). Adjust these to match your site needs and service model. Some items may need checking more or less often depending on building use, occupancy, and risk.
Status options
Completed = task carried out, no issues found. Satisfactory = item checked, condition is acceptable. Action needed = a defect, fault, or concern that requires follow-up. Not checked = item was not inspected this period. N/A = not applicable this period.
Follow-up
A checklist should connect to a follow-up process. Where action is needed, record the issue in the notes column and raise it through your site's defect reporting, work order, or escalation process.
Review
Review and update the checklist periodically. As your site, team, or processes change, the checklist should be refined to remain relevant and useful.
Checklist vs PPM schedule
A maintenance checklist is usually a simpler document for recurring checks and basic task tracking. A PPM (planned preventive maintenance) schedule is a more structured planning document showing recurring planned maintenance work over time. Both are useful but serve different purposes.
Further reading
Visit guidetofm.com for related guides on preventive maintenance, reactive vs planned maintenance, PPM schedule templates, and FM risk assessment templates.