## PPM Schedule
PPM Schedule - guidetofm.com
Site / building: |  |  | Schedule ref:
Completed by: |  |  | Period:
Reviewed by: |  |  | Review date:
# | Asset / area | Maintenance activity | Frequency | Responsible person | Jan | Feb | Mar | Apr | May | Jun | Jul | Aug | Sep | Oct | Nov | Dec | Notes
MECHANICAL SERVICES
1 | HVAC system | Full planned service and inspection | Annually | Specialist contractor | [12 empty] | Book during quieter period | bar: Jan to Dec
2 | HVAC system | Filter inspection and replacement | Quarterly | M&E contractor | bar: Jan; Apr; Jul; Oct
3 | Boiler / heating plant | Annual service and safety check | Annually | Gas Safe contractor | [12 empty] | Must be Gas Safe registered | bar: Jan to Dec
4 | Boiler / heating plant | Visual inspection and pressure check | Monthly | Facilities manager | bar: Jan to Dec
5 | Domestic water systems | TMV servicing and check | Annually | Specialist contractor | bar: Jan to Dec
6 | Domestic water systems | Water hygiene monitoring and sampling | Quarterly | Water treatment contractor | [12 empty] | Part of Legionella management | bar: Jan; Apr; Jul; Oct
ELECTRICAL SERVICES
1 | Fixed wiring | Electrical inspection and testing (EICR) | 5-yearly | Approved contractor | [12 empty] | Check certificate expiry date | bar: Jan to Dec
2 | Emergency lighting | Full discharge test | Annually | Electrical contractor | bar: Feb
3 | Emergency lighting | Brief functional test | Monthly | Facilities staff | bar: Jan to Dec
4 | Portable appliances | PAT testing | Annually | Electrical contractor | [12 empty] | Frequency depends on risk assessment | bar: Sep
5 | Lightning protection | Inspection and testing | Annually | Specialist contractor | bar: Jan to Dec
FIRE SAFETY
1 | Fire alarm system | Service and inspection | Quarterly | Fire alarm contractor | [12 empty] | BS 5839 compliant schedule | bar: Jan to Dec
2 | Fire alarm system | Weekly call point test | Weekly | Site team | [12 empty] | Rotate call points each week | bar: Jan to Dec
3 | Fire extinguishers | Annual service and inspection | Annually | Fire protection contractor | bar: Jan to Dec
4 | Fire doors | Inspection of operation and condition | Quarterly | Facilities staff | bar: Mar; Jun; Sep; Dec
5 | Sprinkler system | Service and inspection | Annually | Specialist contractor | [12 empty] | If applicable | bar: Jan to Dec
LIFTS AND ACCESS
1 | Passenger lifts | LOLER thorough examination | 6-monthly | Insurance engineer | [12 empty] | Statutory requirement | bar: Jan to Dec
2 | Passenger lifts | Planned maintenance visit | Monthly | Lift contractor | bar: Jan to Dec
3 | Automatic doors | Planned service and safety check | Annually | Door contractor | bar: Jan to Dec
BUILDING FABRIC
1 | Roof | Planned inspection and condition review | Annually | Roofing contractor | [12 empty] | Also inspect after severe weather | bar: Jan to Dec
2 | Gutters and drainage | Clearance and inspection | Bi-annually | Facilities team / contractor | [12 empty] | Before and after winter | bar: Apr; Oct
3 | External decorations | Condition review and planned redecoration | 3-yearly | Facilities manager | [12 empty] | Review cycle and plan ahead | bar: Jan to Dec
4 | Windows and glazing | Inspection of seals, frames, and operation | Annually | Facilities staff | bar: May
GROUNDS AND EXTERNALS
1 | Grounds maintenance | Seasonal grounds maintenance | Quarterly | Grounds contractor | [12 empty] | Adjust for seasonal needs | bar: Jan to Dec
2 | Car park | Surface and markings inspection | Annually | Facilities manager | bar: Apr
3 | External lighting | Inspection and lamp replacement review | Bi-annually | Electrical contractor | bar: Jan to Dec
4 | Fencing and boundaries | Condition and security check | Annually | Facilities staff | bar: Mar
COMPLIANCE AND STATUTORY
1 | Asbestos register | Management survey review and re-inspection | Annually | Asbestos consultant | [12 empty] | Legal duty to manage | bar: Jan to Dec
2 | Water risk assessment | Legionella risk assessment review | Bi-annually | Water hygiene consultant | bar: Jan; Jul
3 | Fire risk assessment | Review and update | Annually | Competent person | [12 empty] | Or after significant change | bar: Jan to Dec
4 | Gas safety | Annual gas safety inspection (CP12) | Annually | Gas Safe engineer | [12 empty] | Statutory requirement | bar: Aug
5 | Energy performance | DEC / EPC review where applicable | Annually | Energy assessor | [12 empty] | Check display requirements | bar: Jan to Dec
Month key: ● = Planned ¦ ✓ = Completed ¦ ✗ = Missed ¦ R = Rescheduled ¦ Leave blank if not applicable
Adapt this schedule to suit your site, assets, service contracts, and maintenance responsibilities. Remove sections that do not apply and add items specific to your operation.

## Guidance Notes
PPM Schedule — Guidance Notes
Purpose
This template provides a structured way to plan and track recurring planned preventive maintenance tasks across a 12-month period. It is designed to help facilities teams organise what maintenance needs to happen, how often, and when it is due.
How to use
Complete the site information at the top of the schedule. Each row represents a planned maintenance task. Use the month columns to mark when each task is planned and to track progress as the year goes on. Review the schedule regularly to check what is due, what has been completed, and what needs to be chased.
Month column markers
Each month cell has a dropdown with four options. Use ● to mark a task as planned for that month. As the year progresses, update each cell: change ● to ✓ when the task is completed, ✗ if it was missed, or R if it has been rescheduled. Leave the cell blank if the task does not apply that month.
Adapting the template
This schedule includes common example tasks across several categories. You should remove sections that do not apply to your site and add items specific to your buildings, services, assets, and contracts. A simple office may only need a short schedule, while a larger or more complex site may need separate schedules by system, contractor, or asset group.
Frequency
Each task has a suggested frequency. Adjust these to match your site needs, manufacturer recommendations, statutory requirements, and service contract terms. Some frequencies (e.g. 5-yearly electrical testing) mean the task may not appear every year.
Notes column
Use the notes column to record any additional context, reminders, or follow-up actions for each task. This might include contractor details, specific requirements, reference numbers, or links to related documents.
PPM schedule vs maintenance checklist
A PPM schedule is usually a forward-looking planning document showing recurring planned maintenance work over time. A maintenance checklist is usually a simpler operational document for recurring inspections, checks, and routine task tracking. Both are useful but serve different purposes.
Compliance and statutory tasks
Some tasks in this schedule may relate to statutory or regulatory requirements (e.g. gas safety, fire alarm servicing, lift inspections, electrical testing, Legionella management). Make sure you understand which tasks are legally required and that they are carried out by competent persons at the correct intervals.
Review
Review and update the schedule periodically. As your site, assets, contracts, or priorities change, the schedule should be refined to remain accurate and useful.
Further reading
Visit guidetofm.com for related guides on preventive maintenance, reactive vs planned maintenance, maintenance checklists, and FM risk assessment templates.